## Network tariffs
Evoenergy - Schedule of Electricity Network Charges 2024-25 |  |  |  |  | Prices exclude GST
Charges apply from 1 July 2024 to 30 June 2025
Important information about the ACT Large-scale Feed-in Tariff (LFiT) scheme and Evoenergy's network charges
This schedule of charges presents Evoenergy's 2024-25 network charges and reflects the final prices to be charged to retailers. The charges shown in this schedule include both the network charges approved by the Australian Energy Regulator (AER) and the costs for the ACT Government's Large-scale Feed-in Tariff (LFiT) scheme. The 2024-25 LFiT amount has been applied as an adjustment to the AER's approved charges for 2024-25, and is equivalent to an additional 0.258 cents per kilowatt-hour (kWh). This adjustment has been applied uniformly to the consumption charges (c/kWh) in Evoenergy's tariffs.
This schedule of charges should be read in conjunction with Evoenergy's 2024–29 Tariff Structure Statement, which includes details about Evoenergy's tariffs and tariff assignment policy.
Further information is also provided in Evoenergy's 2024-25 pricing proposal overview document.
* XMC tariffs exclude metering charges.
Residential tariffs
010 | Residential Basic Network (closed)
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 32.757 | 15.5 | 48.257
| Anytime Energy | Any time | c/kWh | 7.82 |  | 7.82
011 | Residential Basic Network (closed) XMC*
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 32.757 | 0 | 32.757
| Anytime Energy | Any time | c/kWh | 7.82 |  | 7.82
015 | Residential TOU Network (closed)
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 32.757 | 15.5 | 48.257
| Peak Energy | 7am-9am and 5pm-8pm every day | c/kWh | 14.063 |  | 14.063
| Shoulder Energy | 9am-5pm and 8pm-10pm every day | c/kWh | 6.285 |  | 6.285
| Off-peak Energy | 10pm-7am every day | c/kWh | 3.21 |  | 3.21
016 | Residential TOU Network (closed) XMC*
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 32.757 | 0 | 32.757
| Peak Energy | 7am-9am and 5pm-8pm every day | c/kWh | 14.063 |  | 14.063
| Shoulder Energy | 9am-5pm and 8pm-10pm every day | c/kWh | 6.285 |  | 6.285
| Off-peak Energy | 10pm-7am every day | c/kWh | 3.21 |  | 3.21
017 | New Residential TOU Network
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 32.757 | 15.5 | 48.257
| Peak Energy | 7am-9am and 5pm-9pm every day | c/kWh | 14.109 |  | 14.109
| Solar Soak Energy | 11am-3pm every day | c/kWh | 1.757 |  | 1.757
| Off-peak Energy | 9pm-7am, 9am-11am and 3pm-5pm every day | c/kWh | 3.918 |  | 3.918
018 | New Residential TOU Network XMC*
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 32.757 | 0 | 32.757
| Peak Energy | 7am-9am and 5pm-9pm every day | c/kWh | 14.109 |  | 14.109
| Solar Soak Energy | 11am-3pm every day | c/kWh | 1.757 |  | 1.757
| Off-peak Energy | 9pm-7am, 9am-11am and 3pm-5pm every day | c/kWh | 3.918 |  | 3.918
020 | Residential 5000 Network (closed)
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 60.443 | 15.5 | 75.943
| Anytime Energy - Block 1 | Applies for the first 60 kWh per day, every day | c/kWh | 6.167 |  | 6.167
| Anytime Energy - Block 2 | Applies to energy above 60 kWh per day, every day | c/kWh | 7.459 |  | 7.459
021 | Residential 5000 Network (closed) XMC*
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 60.443 | 0 | 60.443
| Anytime Energy - Block 1 | Applies for the first 60 kWh per day, every day | c/kWh | 6.167 |  | 6.167
| Anytime Energy - Block 2 | Applies to energy above 60 kWh per day, every day | c/kWh | 7.459 |  | 7.459
023 | New Residential Demand Network
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 32.808 | 15.5 | 48.308
| Off-peak Energy | 3pm-11am every day | c/kWh | 3.568 |  | 3.568
| Solar Soak Energy | 11am-3pm every day | c/kWh | 1.757 |  | 1.757
| Seasonal kW Demand (High) | 5pm-9pm every day during winter months Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kW/day | 18.525 |  | 18.525
| Seasonal kW Demand (Low) | 5pm-9pm every day during non-winter months Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kW/day | 11.115 |  | 11.115
| Off-peak kW Demand | 9pm-9am every day Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kW/day | 1.76 |  | 1.76
024 | New Residential Demand Network XMC*
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 32.808 | 0 | 32.808
| Off-peak Energy | 3pm-11am every day | c/kWh | 3.568 |  | 3.568
| Solar Soak Energy | 11am-3pm every day | c/kWh | 1.757 |  | 1.757
| Seasonal kW Demand (High) | 5pm-9pm every day during winter months Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kW/day | 18.525 |  | 18.525
| Seasonal kW Demand (Low) | 5pm-9pm every day during non-winter months Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kW/day | 11.115 |  | 11.115
| Off-peak kW Demand | 9pm-9am every day Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kW/day | 1.76 |  | 1.76
025 | Residential Demand Network (closed)
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 32.808 | 15.5 | 48.308
| Anytime Energy | Any time | c/kWh | 3.103 |  | 3.103
| Peak kW Demand | 5pm-8pm every day Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kW/day | 15.881 |  | 15.881
026 | Residential Demand Network (closed) XMC*
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 32.808 | 0 | 32.808
| Anytime Energy | Any time | c/kWh | 3.103 |  | 3.103
| Peak kW Demand | 5pm-8pm every day Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kW/day | 15.881 |  | 15.881
030 | Residential with Heat Pump Network (closed)
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 116.199 | 15.5 | 131.699
| Anytime Energy - Block 1 | Applies for the first 165kWh per day, every day | c/kWh | 4.3 |  | 4.3
| Anytime Energy - Block 2 | Applies to energy above 165kWh per day, every day | c/kWh | 7.741 |  | 7.741
031 | Residential with Heat Pump Network (closed) XMC*
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 116.199 | 0 | 116.199
| Anytime Energy - Block 1 | Applies for the first 165kWh per day, every day | c/kWh | 4.3 |  | 4.3
| Anytime Energy - Block 2 | Applies to energy above 165kWh per day, every day | c/kWh | 7.741 |  | 7.741
060 | Off-Peak (1) Night Network
This tariff is a secondary tariff available to customers using a controlled load
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Off-peak | 6 to 8 hours between 10pm-7am every day | c/kWh | 2.25 |  | 2.25
070 | Off-Peak (3) Day & Night Network
This tariff is a secondary tariff available to customers using a controlled load
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Off-peak | 8 hours between 10pm-7am and 5 hours between 9am-5pm every day | c/kWh | 2.885 |  | 2.885
LV commercial tariffs
040 | General Network (closed)
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 61.176 | 15.5 | 76.676
| Anytime Energy - Block 1 | Applies for the first 330 kWh per day, every day | c/kWh | 11.894 |  | 11.894
| Anytime Energy - Block 2 | Applies to energy above 330 kWh per day, every day | c/kWh | 14.546 |  | 14.546
041 | General Network (closed) XMC*
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 61.176 | 0 | 61.176
| Anytime Energy - Block 1 | Applies for the first 330 kWh per day, every day | c/kWh | 11.894 |  | 11.894
| Anytime Energy - Block 2 | Applies to energy above 330 kWh per day, every day | c/kWh | 14.546 |  | 14.546
090 | General TOU Network
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 61.176 | 15.5 | 76.676
| Peak Energy | 7am-5pm weekdays | c/kWh | 17.518 |  | 17.518
| Shoulder Energy | 5pm-10pm weekdays | c/kWh | 10.99 |  | 10.99
| Off-peak Energy | All other times | c/kWh | 5.11 |  | 5.11
091 | General TOU Network XMC*
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 61.176 | 0 | 61.176
| Peak Energy | 7am-5pm weekdays | c/kWh | 17.518 |  | 17.518
| Shoulder Energy | 5pm-10pm weekdays | c/kWh | 10.99 |  | 10.99
| Off-peak Energy | All other times | c/kWh | 5.11 |  | 5.11
101 | LV TOU kVA Demand Network
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 68.928 | 15.5 | 84.428
| Peak kVA Demand | 7am-5pm weekdays Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 37.118 |  | 37.118
| Peak Energy | 7am-5pm weekdays | c/kWh | 7.466 |  | 7.466
| Shoulder Energy | 5pm-10pm weekdays | c/kWh | 4.234 |  | 4.234
| Off-peak Energy | All other times | c/kWh | 2.422 |  | 2.422
104 | LV TOU kVA Demand Network XMC*
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 68.928 | 0 | 68.928
| Peak kVA Demand | 7am-5pm weekdays Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 37.118 |  | 37.118
| Peak Energy | 7am-5pm weekdays | c/kWh | 7.466 |  | 7.466
| Shoulder Energy | 5pm-10pm weekdays | c/kWh | 4.234 |  | 4.234
| Off-peak Energy | All other times | c/kWh | 2.422 |  | 2.422
103 | LV TOU Capacity Network
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 68.928 | 15.5 | 84.428
| Peak kVA Demand | 7am-5pm weekdays Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 17.975 |  | 17.975
| Capacity | Highest demand in a clocked 30-minute interval, starting on full or half hour, within 13 month period, including current bill period | c/kVA/day | 17.975 |  | 17.975
| Peak Energy | 7am-5pm weekdays | c/kWh | 6.985 |  | 6.985
| Shoulder Energy | 5pm-10pm weekdays | c/kWh | 3.97 |  | 3.97
| Off-peak Energy | All other times | c/kWh | 2.277 |  | 2.277
105 | LV TOU Capacity Network XMC*
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 68.928 | 0 | 68.928
| Peak kVA Demand | 7am-5pm weekdays Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 17.975 |  | 17.975
| Capacity | Highest demand in a clocked 30-minute interval, starting on full or half hour, within 13 month period, including current bill period | c/kVA/day | 17.975 |  | 17.975
| Peak Energy | 7am-5pm weekdays | c/kWh | 6.985 |  | 6.985
| Shoulder Energy | 5pm-10pm weekdays | c/kWh | 3.97 |  | 3.97
| Off-peak Energy | All other times | c/kWh | 2.277 |  | 2.277
106 | LV Demand Network
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 61.176 | 15.5 | 76.676
| Anytime Energy | Any time | c/kWh | 5.732 |  | 5.732
| Peak kW Demand | 7am-5pm weekdays Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kW/day | 36.45 |  | 36.45
107 | LV Demand Network XMC*
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 61.176 | 0 | 61.176
| Anytime Energy | Any time | c/kWh | 5.732 |  | 5.732
| Peak kW Demand | 7am-5pm weekdays Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kW/day | 36.45 |  | 36.45
108 | LV large-scale battery tariff (residential area)
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Capacity | Highest demand in a clocked 30-minute interval, starting on full or half hour, within 13 month period, including current bill period | c/kVA/day | 3.207 |  | 3.207
| Net Energy | Applies to net energy imported i.e., electricity imported less electricity exported (in kWh) | c/kWh | 1.058 |  | 1.058
| Seasonal kVA Demand (High) | 5pm-8pm every day during summer and spring months Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 33.845 |  | 33.845
| Seasonal kVA Demand (Low) | 5pm-8pm every day during winter and autumn months Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 29.507 |  | 29.507
| Critical Peak Export Rebate | Applies to energy exported during a critical peak event | c/kVAh | -186.299 |  | -186.299
| Critical Peak Export Charge | Applies to energy exported during a critical peak event, above 2 kVAh | c/kVAh | 393.847 |  | 393.847
109 | LV large-scale battery tariff (commercial area)
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Capacity | Highest demand in a clocked 30-minute interval, starting on full or half hour, within 13 month period, including current bill period | c/kVA/day | 21.132 |  | 21.132
| Net Energy | Applies to net energy imported i.e., electricity imported less electricity exported (in kWh) | c/kWh | 1.058 |  | 1.058
| Seasonal kVA Demand (High) | 7am-5pm weekdays during summer and spring months Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 19.231 |  | 19.231
| Seasonal kVA Demand (Low) | 7am-5pm weekdays during winter and autumn months Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 16.026 |  | 16.026
| Critical Peak Export Rebate | Applies to energy exported during a critical peak event | c/kVAh | -187.812 |  | -187.812
080 | Streetlighting Network
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 0 | 15.5 | 15.5
| Anytime Energy | Any time | c/kWh | 8.297 |  | 8.297
081 | Streetlighting Network XMC*
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Anytime Energy | Any time | c/kWh | 8.297 | 0 | 8.297
135 | Small Unmetered Loads Network
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Anytime Energy | Any time | c/kWh | 12.707 |  | 12.707
HV commercial tariffs
111 | HV TOU Demand Network (closed)
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 2472.409 |  | 2472.409
| Peak kVA Demand | 7am-5pm weekdays Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 17.554 |  | 17.554
| Capacity | Highest demand in a clocked 30-minute interval, starting on full or half hour, within 13 month period, including current bill period | c/kVA/day | 17.554 |  | 17.554
| Peak Energy | 7am-5pm weekdays | c/kWh | 4.835 |  | 4.835
| Shoulder Energy | 5pm-10pm weekdays | c/kWh | 2.856 |  | 2.856
| Off-peak Energy | All other times | c/kWh | 1.771 |  | 1.771
121 | HV TOU Demand Network – Customer LV (closed)
This tariff is closed to new customers.
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 2472.409 |  | 2472.409
| Peak kVA Demand | 7am-5pm weekdays Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 17.554 |  | 17.554
| Capacity | Highest demand in a clocked 30-minute interval, starting on full or half hour, within 13 month period, including current bill period | c/kVA/day | 17.554 |  | 17.554
| Peak Energy | 7am-5pm weekdays | c/kWh | 3.858 |  | 3.858
| Shoulder Energy | 5pm-10pm weekdays | c/kWh | 2.387 |  | 2.387
| Off-peak Energy | All other times | c/kWh | 1.536 |  | 1.536
122 | HV TOU Demand Network – Customer HV and LV
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Fixed | Daily | c/day | 2472.409 |  | 2472.409
| Peak kVA Demand | 7am-5pm weekdays Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 15.917 |  | 15.917
| Capacity | Highest demand in a clocked 30-minute interval, starting on full or half hour, within 13 month period, including current bill period | c/kVA/day | 15.917 |  | 15.917
| Peak Energy | 7am-5pm weekdays | c/kWh | 3.858 |  | 3.858
| Shoulder Energy | 5pm-10pm weekdays | c/kWh | 2.387 |  | 2.387
| Off-peak Energy | All other times | c/kWh | 1.537 |  | 1.537
123 | HV large-scale battery tariff (residential area)
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Capacity | Highest demand in a clocked 30-minute interval, starting on full or half hour, within 13 month period, including current bill period | c/kVA/day | 3.234 |  | 3.234
| Net Energy | Applies to net energy imported i.e., electricity imported less electricity exported (in kWh) | c/kWh | 1.058 |  | 1.058
| Seasonal kVA Demand (High) | 5pm-8pm every day during summer and spring months Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 23.17 |  | 23.17
| Seasonal kVA Demand (Low) | 5pm-8pm every day during winter and autumn months Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 19.73 |  | 19.73
| Critical Peak Export Rebate | Applies to energy exported during a critical peak event | c/kVAh | -188.306 |  | -188.306
| Critical Peak Export Charge | Applies to energy exported during a critical peak event, above 2 kVAh | c/kVAh | 100.32 |  | 100.32
124 | HV large-scale battery tariff (commercial area)
| Component | Charge applicability (times in AEST) | Unit | Rate | Metering charge | Rate + metering
| Capacity | Highest demand in a clocked 30-minute interval, starting on full or half hour, within 13 month period, including current bill period | c/kVA/day | 10.851 |  | 10.851
| Net Energy | Applies to net energy imported i.e., electricity imported less electricity exported (in kWh) | c/kWh | 1.058 |  | 1.058
| Seasonal kVA Demand (High) | 7am-5pm weekdays during spring and summer months Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 15.361 |  | 15.361
| Seasonal kVA Demand (Low) | 7am-5pm weekdays during autumn and winter months Highest demand in a clocked 30-minute interval, starting on full or half hour, within bill period | c/kVA/day | 12.801 |  | 12.801
| Critical Peak Export Rebate | Applies to energy exported during a critical peak event | c/kVAh | -188.601 |  | -188.601

## Ancillary services
Evoenergy - Schedule of fee-based ancillary service charges 2024-25
Charges apply from 1 July 2024 to 30 June 2025
Code | Description | Unit | Price (excluding GST)
Premise re-energisation - Existing network connection*
501 | Re-energise premises – Business Hours | per visit | 98.45
502 | Re-energise premises – After Hours | per visit | 137.04
514# | Re-energise premises – site visit only | per visit | 64.33
Premise de-energisation - existing network connection
503 | De-energise premises – Business Hours | per visit | 96.5
505 | De-energise premises for debt non-payment | per visit | 193
Meter investigations
504 | Meter Test (Whole Current) – Business Hours | per test | 193
510 | Meter Test (CT/VT) – Business Hours | per test | 193
Special meter services
506 | Special Meter Read | per read | 43.72
Power of choice services
515 | Move, remove or inspect a meter | per movement, inspection or re-configure | 161.91
517 | Faults investigation (meter malfunction) | per investigation | 260.67
518 | Faults investigation (meter bypassed) | per investigation | 182.58
519 | Faults investigation (customer's side of network boundary) | per investigation | 96.5
Temporary network connections
520 | Temporary Builders’ Supply – Overhead (Business Hours) | per installation | 1861.69
522 | Temporary Builders’ Supply – Underground (Business Hours) | per installation | 1861.69
New network connections
526 | New Overhead Service Connection – Brownfield (Business Hours) | per installation | 1861.69
527 | New Underground Service Connection – Brownfield from Front | per installation | 2181.1
528 | New Underground Service Connection – Brownfield from Rear | per installation | 2181.1
Network connection alterations and additions
541 | Overhead Service Relocation – Single Visit (Business Hours) | per installation | 1877.31
542 | Overhead Service Relocation – Two Visits (Business Hours) | per installation | 2484.89
543 | Overhead Service Upgrade – Service Cable Replacement Not Required | per installation | 1442.57
544 | Overhead Service Upgrade – Service Cable Replacement Required | per installation | 1877.31
545 | Underground Service Upgrade – Service Cable Replacement Not Required | per installation | 1174.71
546 | Underground Service Upgrade – Service Cable Replacement Required | per installation | 2136.78
547 | Underground Service Relocation – Single Visit (Business Hours) | per installation | 2181.1
549 | Overhead Service Temporary Disconnect Reconnect same day (Business Hours) | per installation | 1426.95
559 | Installation of Possum Guard on overhead service cable | per installation | 954.78
Temporary de-energisation
560 | Temporary de-energisation – LV (Business Hours) | per occurrence | 919.55
561 | Temporary de-energisation – HV (Business Hours) | per occurrence | 919.55
Supply abolishment / removal
562 | Supply Abolishment / Removal – Overhead (Business Hours) | per site visit | 970.53
563 | Supply Abolishment / Removal - Underground (Business Hours) | per site visit | 1284.74
Miscellaneous customer initiated services
564 | Install & Remove Tiger Tails – Establishment (Business Hours) | per installation | 1407.93
565 | Install & Remove Tiger Tails - Per Span (Business Hours) | per installation | 578.78
566 | Install & Remove Warning Flags – Installation (Business Hours) | per installation | 1364.64
567 | Install & Remove Tiger Tails - Per Span (Business Hours) | per installation | 535.5
Operational & maintenance fees - export only embedded generation installations up to 5MW
568 | Embedded Generation OPEX Fees - Connection Assets | per annum | 2 per cent
569 | Embedded Generation OPEX Fees - Shared Network Asset | per annum | 2 per cent
Connection enquiry processing - Embedded generation installations
570 | Embedded Generation Connection Enquiry – Class 1 (Commercial) | per installation | 438.6
571 | Complex Micro Embedded Generation Connection Enquiry - Class 1 (Residential) | per installation | 261.5
598 | Embedded Generation Connection Enquiry – Class 2 to 4 | per installation | 919.4
599 | Embedded Generation Connection Enquiry – Class 5 | per installation | 2091.99
600 | Embedded Generation Connection Enquiry – Class 6 | per installation | 2876.48
Contract administration, commissioning and testing - embedded generation installations up to 5MW
669 | Embedded Generation - Connection Contract Establishment - Class 1 (Commercial) to Class 6 | per establishment | 2100.01
Rescheduled site visits
590 | Rescheduled Site Visit – One Person | per site visit | 365.17
591 | Rescheduled Site Visit – Service Team | per site visit | 1030.35
Trenching charges
592 | First two meters of trenching service | per visit | 684.64
593 | Subsequent two meters of trenching service | per meter | 458.78
Boring charges
594 | Under footpath boring charge | per occurrence | 846.98
595 | Under driveway boring charge | per occurrence | 2117.44
Cable testing
603 | Spiking/Cable Testing | per test | 1317.56
604 | Spiking/Cable Testing | per test | 1763.9
Testing of substation HV/LV earthing or soil resistivity
605 | Substation HV/LV Earthing/Soil Resistivity Testing | per test | 1218.01
606 | Substation HV/LV Earthing/Soil Resistivity Testing | per test | 1601.51
Termination of consumer mains - up to 50mm² AI or Cu - see Note 1 below
607 | 20003386-Termination of Consumer Mains - up to 50mm² Cu or Al - 1 Set | per termination | 1352.43
608 | 20003386-Termination of Consumer Mains - up to 50mm² Cu or Al - 1 Set | per termination | 1640.06
Termination of consumer mains - above 50mm² Cu or AI - see Note 1 below)
609 | 20003387-Termination of Consumer Mains - Above 50mm² Al or Cu - 1 Set | per termination | 1546.96
610 | 20003387-Termination of Consumer Mains - Above 50mm² Al or Cu - 1 Set | per termination | 1930.46
611 | 20003388-Termination of Consumer Mains - Above 50mm² Al or Cu -2 Set | per termination | 2524.16
612 | 20003388-Termination of Consumer Mains - Above 50mm² Al or Cu -2 Set | per termination | 3416.85
613 | Termination of Consumer Mains - Above 50mm² Al or Cu - 3 Set | per termination | 2816.71
614 | Termination of Consumer Mains - Above 50mm² Al or Cu - 3 Set | per termination | 3858.18
615 | Termination of Consumer Mains - Above 50mm² Al or Cu - 4 Set | per termination | 3109.27
616 | Termination of Consumer Mains - Above 50mm² Al or Cu - 4 Set | per termination | 4299.51
LV underground network disconnection (permanent disconnection of existing network)
617 | LV Underground Disconnection & Capping/Abandoning | per disconnection | 1939.06
618 | LV Underground Disconnection & Capping/Abandoning | per disconnection | 2534.18
Consumer mains disconnection at Evoenergy network asset such as POE/substation
619 | Permanent Disconnection of Underground Consumer Mains at AAD Network Asset such as Point of Entry or Substation | per disconnection | 1939.06
620 | Permanent Disconnection of Underground Consumer Mains at AAD Network Asset such as Point of Entry or Substation | per disconnection | 2534.18
Substation supervised access
621 | Substation Supervised Access - 1- 4 hours | per visit per substation | 1468.97
622 | Substation Supervised Access - 1- 4 hours | per visit per substation | 1854.92
623 | Substation Supervised Access - 4-8 hours | per visit per substation | 2240.97
624 | Substation Supervised Access - 4-8 hours | per visit per substation | 2935.68
Temporary de-energisation/isolation of overhead LV network
625 | Temporary De-energisation/Isolation of Overhead LV network | per day | 1570.64
626 | Temporary De-energisation/Isolation of Overhead LV network | per day | 2205.5
Temporary de-energisation/isolation of overhead HV network - see Note 2 below
627 | Temporary De-energisation/Isolation of Overhead HV network | per day | 2487.74
628 | Temporary De-energisation/Isolation of Overhead HV network | per day | 3466.29
Temporary de-energisation/isolation of underground/overhead SLCC supply - see Note 3 below
629 | Temporary De-energisation/Isolation of Overhead & Underground SLCC supply | per day | 1115.38
630 | Temporary De-energisation/Isolation of Overhead & Underground SLCC supply | per day | 1327
Temporary de-energisation/isolation of underground HV or LV network - see Note 3 below
631 | Temporary De-energisation/Isolation of Underground LV or HV network | per day | 2487.74
632 | Temporary De-energisation/Isolation of Underground LV or HV network | per day | 3466.29
Temporary de-energisation/isolation of underground HV network - see Note 4 below
633 | Temporary De-energisation/Isolation of Underground HV network - If HV Cable Insulation Test is required - Isolation for more than 7 days | per day | 1899.59
634 | Temporary De-energisation/Isolation of Underground HV network - If HV Cable Insulation Test is required - Isolation for more than 7 days | per day | 2560.7
Temporary pole support work - using lifter/borer - see Note 5 below
635 | Temporary Pole Support - Using Plant such as Lifter/Borer | Per pole support per day as well as per visit | 3134.44
636 | Temporary Pole Support - Using Plant such as Lifter/Borer | Per pole support per day as well as per visit | 3692.42
Temporary pole support work - using concrete blocks - see Note 5 below
637 | Temporary Pole Support - Using Concrete Blocks -including installation and removal | per Pole per Installation | 3991.69
638 | Temporary Pole Support - Using Concrete Blocks -including installation and removal | per Pole per Installation | 4994.48
Pole stay replacement
639 | Pole Stay Replacement with Standard Stay | per pole stay | 4125.03
640 | Pole Stay Replacement with Standard Stay | per pole stay | 5171.6
641 | Pole Stay Replacement with Side Walk Stay | per pole stay | 4570.56
642 | Pole Stay Replacement with Side Walk Stay | per pole stay | 5617.12
LVABC replacement
643 | LVABC Replacement - 1 Span | per installation | 8877.82
644 | LVABC Replacement - 1 Span | per installation | 11283.09
645 | LVABC Replacement - 2 Span | per installation | 12901.95
646 | LVABC Replacement - 2 Span | per installation | 16298.22
647 | LVABC Replacement - 3 Span | per installation | 18933.42
648 | LVABC Replacement - 3 Span | per installation | 23234.79
649 | Cut & Shackle for LVABC Replacement - Per Crossarm One Direction | per installation | 1266.02
650 | Cut & Shackle for LVABC Replacement - Per Crossarm One Direction | per installation | 1558.17
651 | Installation of Fuse Switch Disconnector for LVABC Replacement | per installation | 1586.63
652 | Installation of Fuse Switch Disconnector for LVABC Replacement | per installation | 1878.78
653 | Installation of LV Termination Cross-Arm for LVABC Replacement | per installation | 1218.62
654 | Installation of LV Termination Cross-Arm for LVABC Replacement | per installation | 1510.77
655 | Installation of LV Double Strain Cross-Arm for LVABC Replacement | per installation | 1543.24
656 | Installation of LV Double Strain Cross-Arm for LVABC Replacement | per installation | 1908.43
657 | 1 Way 630A Fuse Switch Disconnector Installation for consumer mains termination work | per installation | 865.8
658 | 1 Way 630A Fuse Switch Disconnector Installation for consumer mains termination work | per installation | 942.99
659 | 1 Way 1000A Fuse Switch Disconnector Installation for consumer mains termination work | per installation | 934.36
660 | 1 Way 1000A Fuse Switch Disconnector Installation for consumer mains termination work | per installation | 1011.55
661 | 1250A Installation for consumer mains termination work | per installation | 8150.11
662 | 1250A Installation for consumer mains termination work | per installation | 8265.9
663 | 1 Way POE Kit Installation for consumer mains termination work | per installation | 2685.44
664 | 1 Way POE Kit Installation for consumer mains termination work | per installation | 2762.63
665 | 3 Way POE Kit Installation for Termination of Consumer Mains | per installation | 3472.36
666 | 3 Way POE Kit Installation for Termination of Consumer Mains | per installation | 3549.55
667 | Fuse Kit Installation for Termination of Consumer Mains | per installation | 240.02
668 | Fuse Kit Installation for Termination of Consumer Mains | per installation | 317.21
Design fees and network advice fees
680 | Design Fee - Basic Connections |  | 793.25
681 | Design Fee > 100 amps |  | 5306.29
682 | Preliminary Network Advice Fee |  | 10469.8
683 | Preliminary Network Advice Fee - Major Project - Chambers |  | 13728.29
684 | Preliminary Network Advice Fee - Major Project - Greenfield |  | 25654.1
NOTES
* These charges also apply where Evoenergy responds to a customer initiated call out and determines that the premise is energised at the connection point.
# This charge was previously assigned billing code 507, which conflicted with another service previously assigned in Evoenergy's billing system. Evoenergy has therefore updated the billing code to 514.
Note 1 - includes termination of temporary supply consumer mains, if any. Crimp Lugs to be supplied by customer / applicant. Charges include disconnection of existing temporary consumer mains if present.
Note 2 - includes establishment of temporary earthing to overhead network and includes plant as required.
Note 3 - excludes the type of work done by supply and installation officer. Excludes streetlight controller isolation work by C&I Officer and S&I Officer.
Note 4 - includes insulation testing of isolated HV cable prior re-energisation.
Note 5 - includes plant operator as required however temporary network isolation charges to apply separately.

## Labour rates
Evoenergy - Schedule of labour rates for quoted ancillary services 2024-25
Rates apply from 1 July 2024 to 30 June 2025
| Evoenergy labour category | Hourly rate (excluding GST)
Business hours
| Office support service delivery | 135.34
| Connection/Project Engineer (PE) | 219.3
| Management ( Senior Project Engineer - SPE) | 261.5
| GIS Officer (GO) | 182.31
| Site Lead/Scheduler ( SL) | 196.05
| Electrical Fitter (EF) | 193
| Electrical Operator (EO) | 196.05
| Plant Operator (PO) | 174.35
| Line Worker (LW) | 182.58
| Trade Assistant/Labour (TA) | 150.01
| Network Controller | 196.05
| Embedded Generation Engineer | 219.3
| Embedded Generation Team Lead | 261.5
| Planning Engineer (PE) | 261.5
| Service and Installation Officer | 196.05
After hours
| Site Lead/Scheduler ( SL) | 310.61
| Electrical Fitter (EF) | 270.19
| Electrical Operator (EO) | 301.86
| Plant Operator (PO) | 244.1
| Line Worker (LW) | 255.62
| Trade Assistant/Labour (TA) | 210.01

## Metering
Evoenergy - Schedule of metering charges 2024-25
Rates apply from 1 July 2024 to 30 June 2025
Code | Description | Unit | Price (excluding GST)
MP7 | Quarterly manually-read interval metering capital rate | c/day/NMI | 15.5
MP8 | Monthly non-interval metering capital rate | c/day/NMI | 15.5
MP9 | Monthly multi-register non-interval metering capital rate | c/day/NMI | 15.5
MP10 | Monthly manually-read interval metering capital rate | c/day/NMI | 15.5
NMI refers to National Meter Identifier

## FiT rates
ACT Government Electricity Feed-in Renewable Energy Generation (FiT) Scheme
Rates apply from 1 July 2024 to 30 June 2025
The following are the payments (negative charges) under the ACT Electricity Feed-in (Renewable Energy) Act 2008, together with the tariff codes applied to those payments. These rates are subject to change. Where an electricity retailer has paid an occupier of a premises in accordance with subsection 6(3) of the Electricity Feed-in (Renewable Energy Premium) Act 2008, Evoenergy will reimburse the retailer in accordance with subsection 6(2) of the Act. Evoenergy's NUOS invoices to retailers will show the reimbursement as a negative amount in the charges. Retailers are to apply to Evoenergy for a network tariff code if a relevant network tariff code is not listed below.
Code | Scheme | Description | Rate (excluding GST)
201 | Feed-in scheme 10 2009−2029 (obsolete) | The feed-in scheme network rate for renewable energy generators up to 10kW to start 1 March 2009 and end 2029 will be all renewable energy generated. | -41.85c per kWh
301 | Feed-in scheme 30 2009−2030 (obsolete) | The feed-in scheme network rate from 10kW up to 30kW to start 1 March 2009 and end 2029 will be all renewable energy generated | -31.84c per kWh
302 | Feed-in scheme 30 2010−2030 (obsolete) | The feed-in scheme network rate for renewable energy generators up to 30kW to start 1 July 2010 and end 2030 will be all renewable energy generated | -37.50c per kWh
303 | Feed-in scheme 30 2011−2031 (obsolete) | The feed-in scheme network rate for renewable energy generators greater than 30kW but at 75% to start 1 July 2011 and end 2031 will be all renewable energy generated | -26.07c per kWh
304 | Feed-in scheme 30 2011−2031 (obsolete) | The feed-in scheme network rate for renewable energy generators greater than 30kW to start 1 July 2011 and end 2031 will be all renewable energy generated | -21.96c per kWh

## Distribution Loss Factors
Evoenergy - Distribution Loss Factors 2024-25
Rates apply from 1 July 2024 to 30 June 2025
Code | Connection | Distribution Loss Factor
AL00 | Low Voltage Connection | 1.0429
AH00 | High Voltage Connection | 1.0127
https://aemo.com.au/-/media/files/electricity/nem/security_and_reliability/loss_factors_and_regional_boundaries/2024-25-financial-year/draft-distribution-loss-factors-for-2024-25.pdf?la=en