## Index
Evoenergy 2026-31 Gas AA Revised proposal - Capital expenditure sharing scheme model
Index
Model index
| Sheet Name | Sheet Description
| Input ¦ General | Inputs NSP name, regulatory years for the prior and forecast regulatory control period etc.
| Input ¦ Inflation and Disc Rate | Inputs the inflation and discount rate
| Input ¦ Reported Capex | Inputs the reported capital expenditure from the prior regulatory control period as well as the AER's forecast etc.
| Input ¦Reported Performance | Inputs the actual performance components
| Input ¦ Asset performance index | Calculates the contingent payment factor
| Calc ¦ CESS Revenue Increments | Calculates the CESS payments from the prior regulatory control period
| Output ¦ Models | Outputs the CESS revenue increments needed as a post tax revenue model input
End

## Input ¦ General
Evoenergy 2026-31 Gas AA Revised proposal - Capital expenditure sharing scheme model |  |  |  |  | Key: | Input | Internal Link | Revised proposal
Input ¦ General
Input ¦ General
| NSP Name | Evoenergy
| Determination stage | Gas AA Revised proposal
| Determination years | 2026-31
| Base regulatory year | 2026-27
Regulatory control period details
|  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
| Regulatory control period CESS applied in (regulatory years) | 2021–22 | 2022–23 | 2023–24 | 2024–25 | 2025–26
| CESS to apply to this year's expenditure (Yes/No) | Yes | Yes | Yes | Yes | Yes
| Actual or estimate year | Actual | Actual | Actual | Actual | Estimate
| Contingent Payment Index apply to this year's performance (Yes/No) | Yes | Yes | Yes | Yes | No
|  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
| Regulatory control period CESS revenue increment applied in (regulatory years) | 2026-27 | 2027–28 | 2028–29 | 2029–30 | 2030–31
End

## Input ¦ Inflation and Disc Rate
Evoenergy 2026-31 Gas AA Revised proposal - Capital expenditure sharing scheme model | [5 empty] | Key: | Input | Internal Link | Revised proposal
Input ¦ Inflation and Discount rate
Input ¦ Inflation
|  | Source | Unit
|  |  |  | 2020–21 | 2021–22 | 2022–23 | 2023–24 | 2024–25 | 2025–26 | 2026-27 | 2027–28 | 2028–29 | 2029–30 | 2030–31
| Actual CPI Inflation Rate | Evoenergy | Per cent |  | 3.498% | 7.832% | 4.052% | 2.425% | 3%
| Forecast CPI Inflation Rate | Evoenergy | Per cent | [6 empty] | 2.55% | 2.55% | 2.55% | 2.55% | 2.55%
| CPI Index (base year 2020–21) | Evoenergy | Index | 1 | 1.035 | 1.116 | 1.1613 | 1.1894 | 1.2251 | 1.2563 | 1.2884 | 1.3212 | 1.3549 | 1.3895
| Actual CPI Inflation Rate | AER | Per cent |  | 3.498% | 7.832% | 4.052% | 2.425% | 3%
| Forecast CPI Inflation Rate | AER | Per cent | [6 empty] | 2.55% | 2.55% | 2.55% | 2.55% | 2.55%
| CPI Index (base year 2020–21) | AER | Index | 1 | 1.035 | 1.116 | 1.1613 | 1.1894 | 1.2251 | 1.2563 | 1.2884 | 1.3212 | 1.3549 | 1.3895
Input ¦ Discount rate
|  | Source | Unit |  | 2021–22 | 2022–23 | 2023–24 | 2024–25 | 2025–26 | 2026-27 | 2027–28 | 2028–29 | 2029–30 | 2030–31
| Real Vanilla WACC | AER | Per cent |  | 2.728% | 2.622% | 2.704% | 2.779% | 2.816%
| Forecast Real Vanilla WACC | AER | Per cent | [6 empty] | 3.434% | 3.471% | 3.54% | 3.587% | 3.734%
| Nominal Vanilla WACC (fixed, real, time varying) | Calculated | Per cent |  | 6.322% | 10.66% | 6.866% | 5.271% | 5.901% | 6.071% | 6.109% | 6.18% | 6.229% | 6.379%
End

## Input ¦ Reported Capex
Evoenergy 2026-31 Gas AA Revised proposal - Capital expenditure sharing scheme model | [5 empty] | Key: | Input | Internal Link | Revised proposal
Input ¦ Capex
Input ¦ Capex Allowance
|  | Source | Unit | Basis | 2021–22 | 2022–23 | 2023–24 | 2024–25 | 2025–26
| Total capex allowance | AER | $millions | 2020–21 | 14.7265 | 13.0753 | 8.8269 | 7.5941 | 7.003
| Customer Contributions | AER | $millions | 2020–21 | 0.14867 | 0.097494 | 0.023578 | 0.026313 | 0.025546
| Asset Disposals | AER | $millions | 2020–21 | 0 | 0 | 0 | 0 | 0
| Other excludable capex | AER | $millions | 2020–21 | 4.1234 | 3.0015 | 0.93302 | 1.0407 | 1.01
| Total capex allowance applicable to CESS | Calculated | $millions | 2020–21 | 10.4545 | 9.9763 | 7.8703 | 6.5271 | 5.9675
Input ¦ Actual / Estimate Capex
|  | Source | Unit | Basis | 2021–22 | 2022–23 | 2023–24 | 2024–25 | 2025–26
| Total capex | AER | $millions | nominal | 9.8592 | 10.0103 | 9.2593 | 7.8566 | 11.0726
| Customer Contributions | AER | $millions | nominal | 0.39335 | 0.31039 | 0.31008 | 0.33381 | 0.11566
| Asset Disposals | AER | $millions | nominal | 0 | 0 | 0 | 0 | 0
| Other excludable capex | AER | $millions | nominal | 5.8502 | 5.5205 | 3.6734 | 1.9902 | 1.7481
| Total actual capex applicable to CESS | Calculated | $millions | nominal | 3.6157 | 4.1794 | 5.2759 | 5.5326 | 9.2088
Input ¦ Capex Deferred to following regulatory period
[5 empty] | 2026-27 | 2027–28 | 2028–29 | 2029–30 | 2030–31
| Capex deferred and re-proposed | Evoenergy | $millions | nominal | 0 | 0 | 0 | 0 | 0
| Capex deferred and re-proposed | Calculated | $millions | 2020–21 | 0 | 0 | 0 | 0 | 0
| Capex deferred and re-proposed | AER | $millions | nominal | 0 | 0 | 0 | 0 | 0
End
Note on C4: Author: $2017 , end of year terms (Dec)
Note on C8: RG: includes customer contributions
Note on C15: Author: $nominal, middle of year terms (June)
Note on C19: RG: includes customer contributions
Note on C30: Author: middle of year terms (Dec)
Note on C31: Author: end of year terms June
Note on C32: Author: middle of year terms (Dec)

## Input ¦ Reported Performance
Evoenergy 2026-31 Gas AA Revised proposal - Capital expenditure sharing scheme model | [5 empty] | Key: | Input | Internal Link | Revised proposal
Input ¦ Reported Performance
Input ¦ Actual / Estimated Network Characteristics
|  | Source | Unit | Basis | 2021–22 | 2022–23 | 2023–24 | 2024–25 | n/a
Customer numbers
| Start of year | Evoenergy | number of customers | N/A | 156979 | 155867 | 154606 | 153498
| End of year | Evoenergy | number of customers | N/A | 155867 | 154606 | 153498 | 151599
| Average customer numbers | Calculated | number of customers | N/A | 156423 | 155236.5 | 154052 | 152548.5
| Conversion to per 1000 customer basis | Conversion factor | number of customers | N/A | 1000
Length of mains
| Start of year | Evoenergy | km of main | N/A | 4731.44 | 4770.884 | 4790.794 | 4805.668
| End of year | Evoenergy | km of main | N/A | 4770.884 | 4790.794 | 4805.668 | 4799.6
| Average length of mains | Calculated | km of main | N/A | 4751.162 | 4780.839 | 4798.231 | 4802.634
Input ¦ Actual / Estimated Asset Performance
|  | Source | Unit | Basis | 2021–22 | 2022–23 | 2023–24 | 2024–25 | n/a
Unplanned outages
| Total number of unplanned outages | Evoenergy | number of outages | N/A | 112 | 138 | 200 | 190
| Total number of unplanned hours off supply | Evoenergy | hours | N/A | 199.6333 | 158.2 | 97.5333 | 8
Publicly reported gas leaks
| Mains | Evoenergy | number | N/A | 269 | 203 | 296 | 270
| Services | Evoenergy | number | N/A
| Meters | Evoenergy | number | N/A | 1126 | 1185 | 1352 | 1397
Poor pressure events
| Poor pressure events | Evoenergy | number | N/A
Meter reads
| All meter reads | Evoenergy | number | N/A
| Estimated meter reads | Evoenergy | number | N/A
| Excluded meter reads | Evoenergy | number | N/A
Input ¦ Actual / Estimate Performance Measures
|  | Source | Unit | Basis | 2021–22 | 2022–23 | 2023–24 | 2024–25 | n/a | Average
| Unplanned SAIFI | Calculated | outages per 1000 customers | N/A | 0.71601 | 0.88897 | 1.2983 | 1.2455 |  | 1.0372
| Unplanned SAIDI | Calculated | hours per 1000 customers | N/A | 1.2762 | 1.0191 | 0.63312 | 0.052442 |  | 0.74522
| Mains and services leaks | Calculated | leaks per km of main | N/A | 0.056618 | 0.042461 | 0.061689 | 0.056219 |  | 0.054247
| Meter leaks | Calculated | events per 1000 customers | N/A | 7.1984 | 7.6335 | 8.7763 | 9.1577 |  | 8.1915
| Poor quality supply | Calculated | leaks per 1000 customers | N/A
| Meter read estimation rate | Calculated | % of reads estimated | N/A
End

## Input ¦ Asset Performance Index
#REF! | [5 empty] | Key: | Input | Internal Link
Input ¦ Asset Performance Index
Input ¦ Actual / Estimate Performance Measures
Performance index
|  |  | Target | Actual | Index score | Weight | Weighted index score
| Unplanned SAIFI | outages per 1000 customers | 0.67558 | 1.0372 | 46.4751 | 30% | 13.9425
| Unplanned SAIDI | hours per 1000 customers | 2.5668 | 0.74522 | 170.967 | 30% | 51.2901
| Mains and services leaks | leaks per km of main | 0.049728 | 0.054247 | 90.9127 | 20% | 18.1825
| Meter leaks | leaks per 1000 customers | 11.7649 | 8.1915 | 130.3736 | 20% | 26.0747
| Poor quality supply | events per 1000 customers
| Meter read estimation rate | % of reads estimated
| Asset performance index | [5 empty] | 109.4899
|  |  | API>100 | 80<API<100 | API<80 | Contingent payment factor
| Contingent payment factor |  | 1 | 1.4745 | 0 | 1
End

## Calc ¦ CESS Revenue Increments
Evoenergy 2026-31 Gas AA Revised proposal - Capital expenditure sharing scheme model |  | Key: | Input | Internal Link
Input ¦ CESS Payments
Calc ¦ NPV of CESS payments
Regulatory period 1
| Year | 2021–22 | 2022–23 | 2023–24 | 2024–25 | 2025–26
| Discount rate (Real WACC) | 2.728% | 2.622% | 2.704% | 2.779% | 2.816%
| Discount rate (Nominal, fixed real WACC) | 6.322% | 10.66% | 6.866% | 5.271% | 5.901%
| Capex allowance | 10.9668 | 11.2789 | 9.2622 | 7.8706 | 7.413
| Actual capex | 3.7282 | 4.3965 | 5.454 | 5.6766 | 9.4766
| Underspend | 7.2386 | 6.8824 | 3.8083 | 2.194 | -2.0636
| Year 1 benefit |  | 0.18979 | 0.2111 | 0.22573 | 0.23429
| Year 2 benefit |  |  | 0.18614 | 0.19904 | 0.20658
| Year 3 benefit |  |  |  | 0.10585 | 0.10986
| Year 4 benefit |  |  |  |  | 0.061792
Year 5 benefit
| Total financing benefit | 0 | 0.18979 | 0.39723 | 0.53062 | 0.61252
| Discount factor (end of year) | 1.3184 | 1.1914 | 1.1148 | 1.059 | 1
| NPV underspend (30 June 2025) | 9.5431 | 8.1996 | 4.2456 | 2.3235 | -2.0636
| NPV financing benefit (30 June 2025) | 0 | 0.22611 | 0.44285 | 0.56193 | 0.61252
Regulatory period 2
| Year | 2026-27 | 2027–28 | 2028–29 | 2029–30 | 2030–31
| Discount rate: | 6.071% | 6.109% | 6.18% | 6.229% | 6.379%
| Increase in forecast capex in regulatory period 2 attributable to capex deferred in regulatory period 1 | 0 | 0 | 0 | 0 | 0
| Discount factor (middle of year 5) | 0.97096 | 0.91522 | 0.86224 | 0.81186 | 0.76372
| NPV of increase in forecast capex from deferred capex (30 June 2025) | 0 | 0 | 0 | 0 | 0
CESS calculation (post-adjustment)
| Total underspend (NPV) adjusted for deferrals | 22.2482
| Relevant sharing ratio | 30%
| Consumer share | 15.5737
| NSP share | 6.6745
| Total NSP financing benefit (NPV) | 1.8434
| NPV of CESS payments (post-adjustment) as at 30 June 2025 | 4.831
Calc ¦ Total CESS Payments
|  | 2026-27 | 2027–28 | 2028–29 | 2029–30 | 2030–31
| Discount factor | 0.9668 | 0.93437 | 0.90242 | 0.87117 | 0.83982
| CESS Payment Per Year before CPF ($2025–26 million) | 1.0701 | 1.0701 | 1.0701 | 1.0701 | 1.0701
| Contingent payment factor | 1 | 1 | 1 | 1 | 1
| CESS Payment Per Year after CPF ($2025–26 million) | 1.0701 | 1.0701 | 1.0701 | 1.0701 | 1.0701
| Total CESS Payment ($2025–26 million) | 5.3505
End
Note on C6: Author: $nominal, end of year terms
Note on C20: Author: $nominal, end of regulatory period 1 terms
Note on C26: Author: $nominal, middle of year terms
Note on C30: Author: $nominal, end of regulatory period 1 terms

## Output ¦ Models
Evoenergy 2026-31 Gas AA Revised proposal - Capital expenditure sharing scheme model | [5 empty] | Key: | Input | Internal Link
Output ¦ Models
Inputs for Post Tax Revenue Model |  |  |  |  | Note. The dollar base should be consistent with the post tax revenue model
| Revenue Adjustments | Source | Unit | Basis | 2026-27 | 2027–28 | 2028–29 | 2029–30 | 2030–31 | Total
| CESS increments | Calc ¦ CESS Revenue Increments | $millions | 2025–26 | 1.0701 | 1.0701 | 1.0701 | 1.0701 | 1.0701 | 5.3505
End